## Input
IHE Year 2
Hardcopy Calibration Form
Vendor / Device | Printer XYZ
Date / Time | 1999-11-15
Performed By | Jörg Riesmeier et al.
Presentation LUT | Identity LUT Shape
Illumination | 2000
Reflected Light | 10
Density [OD]
measured Box #1 | 0.19 | min density
measured Box #2 | 0.33
measured Box #3 | 0.46
measured Box #4 | 0.59
measured Box #5 | 0.72
measured Box #6 | 0.85
measured Box #7 | 0.97
measured Box #8 | 1.1
measured Box #9 | 1.24
measured Box #10 | 1.37
measured Box #11 | 1.52
measured Box #12 | 1.68
measured Box #13 | 1.86
measured Box #14 | 2.09
measured Box #15 | 2.4
measured Box #16 | 3 | max density
determined Dmin | 0.19 | OD
determined Dmax | 3 | OD
calculated Lmin | #VALUE! | cd/m²
calculated Lmax | #VALUE! | cd/m²
calculated JNDmin | #VALUE!
calculated JNDmax | #VALUE!
calculated JND # | #VALUE!
overall Status | #VALUE!

## Output
IHE Year 2
Hardcopy Calibration Form
Vendor / Device: |  |  | Printer XYZ
Date / Time: |  |  | 1999-11-15
Performed by: |  |  | Jörg Riesmeier et al.
Presentation LUT: |  |  | Identity LUT Shape
Illumination: |  |  | 2000
Reflected Light: |  |  | 10
# | DDL* | Measured | GSDF | Difference
1 | 255 | 0.19 | #VALUE! | #VALUE! | #VALUE!
2 | 238 | 0.33 | #VALUE! | #VALUE! | #VALUE!
3 | 221 | 0.46 | #VALUE! | #VALUE! | #VALUE!
4 | 204 | 0.59 | #VALUE! | #VALUE! | #VALUE!
5 | 187 | 0.72 | #VALUE! | #VALUE! | #VALUE!
6 | 170 | 0.85 | #VALUE! | #VALUE! | #VALUE!
7 | 153 | 0.97 | #VALUE! | #VALUE! | #VALUE!
8 | 136 | 1.1 | #VALUE! | #VALUE! | #VALUE!
9 | 119 | 1.24 | #VALUE! | #VALUE! | #VALUE!
10 | 102 | 1.37 | #VALUE! | #VALUE! | #VALUE!
11 | 85 | 1.52 | #VALUE! | #VALUE! | #VALUE!
12 | 68 | 1.68 | #VALUE! | #VALUE! | #VALUE!
13 | 51 | 1.86 | #VALUE! | #VALUE! | #VALUE!
14 | 34 | 2.09 | #VALUE! | #VALUE! | #VALUE!
15 | 17 | 2.4 | #VALUE! | #VALUE! | #VALUE!
16 | 0 | 3 | #VALUE! | #VALUE! | #VALUE!
|  |  | Mean: | #VALUE! | #VALUE!
|  |  | Std. Dev.: | #VALUE! | #VALUE!
* according to Philips DSI Pattern